## General-Studies
Students should have knowledge of and be able to demonstrate proficiency in the following: | Mathematics for HVACR
Adding, subtracting, multiplying, and dividing decimal numbers including negative numbers
Adding, subtracting, multiplying, and dividing fractions
Adding, subtracting, multiplying, and dividing whole numbers including negative numbers
Calculating ΔT
Calculating squares, cubes, and roots for area and volume
Converting English measurements to Metric measurements and Metric to English
Converting fractions to decimals, and decimals to fractions
Measure length, area, and volume using both inch pound (English) and SI (metric) measurements
Solving basic equations
Manipulate ratios and proportions as they relate to various equipment and components such as:
Compressors
Pumps
Drive systems
Fans
Students should have knowledge of and be able to demonstrate proficiency in: | HVACR General Studies
HVACR industry organizations
Energy resources
Energy efficiency ratings
Defining and differentiating between Renewable and Sustainable energy
Life Cycle cost Analysis
The meaning of the follow acronyms BIM, CBECS, ECM, EIA, EER, SEER, AFUE, HSPF, COP, ECM
Energy auditing
The thermodynamics of air and water vapor
The water vapor cycle in the Earth’s atmosphere
Standard air volume and density
Psychrometrics
The properties of each line on a psychrometric chart
Plotting any two basic points on the psychrometric chart and evaluating the data
Describing the eight processes of air conditioning and how to plot each on a psychrometric chart
Defining and use the Process Triangle on the psychrometric chart to calculate, sensible heat, latent heat and total heat
Explaining the comfort zone and the different temperatures and relative humidity's effect on human comfort
Explaining sensible heat ratio
Calculating mixed air problems for infiltration and ventilation
Calculating residential structure heat loss and gain
Calculating duct sizing, using duct sizing formulas
Developing critical thinking skills including analysis, evaluation, calculations, and the use of computer technology

## Electrical
Electrical | Students should have knowledge of and be able to demonstrate proficiency in: | Electrical Safety
The structure of an Atom
Direct current
Alternating current
Positive and negative charged atoms
Potential difference
Current flow
Ohm’s Law and solving problems applying to Ohm’s Law
Watts Law
Series and Parallel circuit rules
The effects of voltage drop, amps, and resistance in a series circuit
The effects of voltage, amps, and resistance in a parallel circuit
The effects of voltage, amps, and resistance in a combination series-parallel circuit
Impedance and how it effects a circuits
Interpreting Electrical Diagrams
Calculating and measuring the voltage output of a transformer using the number of turns on the primary vs. the secondary sides
Defining and identifying conductors
Describing and identifying insulators
Describing and identifying semi-conductors
Identifying the types and describing the proper application and use of “Circuit Protectors”
Overload protectors construction and function
Evaluating, replacing, and describing the function, application and wiring of a start capacitor
Evaluating, replacing and describing the function, application and wiring of a run capacitor
The fundamentals of single phase and three phase motors
Defining and measuring Locked Rotor Amps, and Full Load Amps
Demonstrating and explaining the purpose of checking the resistance of motor windings
Describing a dual voltage three phase motor
Describing a dual voltage three phase motor and demonstrating the wiring configurations
Describing a permanent split capacitor motor, capacitor start induction run motor, and a multi speed motor
Describing the operation and characteristics of motor speed drives
Describing and demonstrating setup and adjustment of a Variable Frequency Drive (VFD)
Describing and demonstrating setup and adjustment of a Variable Speed Drive (VSD)
Describing and demonstrating the method used to change rotation direction in a three phase motor
Describing and explaining motor construction, speed, rotation for single phase motors
Describing the operation and characteristics of an Electronically Commutated Motor (ECM)
Disassembling, assembling, and describing the function of the parts of an induction motor
Explaining the difference between a Wye and Delta three phase motor
Describing the differences between a “Pictorial”, a “Ladder Diagram”, and a “Schematic”
Cleaning evaluating and installing different types of motors (Shaded pole, split phase, PSC, CSR, and ECM)
Evaluating and installing a run and start capacitor
Determining the sequence of operation using schematic wiring diagrams
Drawing and interpreting electrical diagrams for the purpose of troubleshooting
Installing and evaluating a transformer.
Installing and evaluating a contactor
Installing and evaluating a control relay
Installing and evaluating a defrost timer
Installing and evaluating a digital thermostat
Installing and evaluating a line starter
Installing and evaluating a solenoid valve
Installing and evaluating start relays (current, potential, and solid state)
Installing and evaluating temperature coefficient thermistors
Identifying electrical symbols used in HVACR schematics
Identifying inoperative/defective components using schematic wiring diagrams
Identifying voltage between two points using schematic wiring diagrams
Installing and evaluating a communications thermostat
Installing, evaluating and servicing a dual stage thermostat
Servicing and installing equipment control circuits
Servicing and installing equipment power supply
Identifying the types and describing the proper application and use of common switches use in HVACR
Identifying the types and describing the proper application and use of a Positive temperature coefficient thermistors (PTC)
Describing and demonstrating the proper solder, flux, and procedures for soldering electrical wiring
| Students should have knowledge of and be able to describe and demonstrate the following safety requirements: | Ladder safety procedures
Describe and perform “Lock out and Tag” procedures
Identifying the safety ground
Identifying the “Hot” conductor
Identifying “Neutral” conductor
Electrical Shock, prevention and first aid
Electrical Burns, prevention and first aid
Describe and demonstrate emergency first aid procedures
| Knowledge of the following test instruments and or tools is required: | Ohmmeter
Multimeter
Ammeter
Voltmeter
Wattmeter
Hermetic compressor analyzer
Relay tester
Megger meter
Capacitor analyzer

## Elect-Heat
Electric Heat | Students should have knowledge of and be able to demonstrate proficiency in: | Electrical Safety
Electric Heat Theory
Identifying system Components
Calculating Watts
Describing how electric heating elements are rated
Describing types and how a sequencer controls heating elements and blower operation
Defining and calculating furnace BTU output
Defining Coefficient of performance
Describing sensible and latent heat
Identifying the formula for sensible heat
Describing the principles of dehumidification and humidification
Differentiating between a resistive and inductive load
Identifying the material used to construct electric heater elements
Describing the insulating properties of mica and ceramics and their application
Describing the operation and purpose of, and evaluate/replace a fan interlock switch
Describing snap discs and their sequence of operation
Describing the operation of, and evaluate/replace a limit switch
Evaluating, describing its operation, installing, and setting a pressure differential switch
Describing the effects of relative humidity on comfort and health
Explaining and measuring temperature rise
Identifying the various types of motor mounts used on residential furnace blower assemblies
Identifying the NEC code requirements for residential thermostat wiring
Describing and calculate wire sizing as it applies to voltage drop and length of wiring run
Describing voltage tolerances
Demonstrating the measurement of and determining the amp draw of electric heating element
Describing and demonstrating the method of wiring heating elements in a single-phase-system
Describing and determine the maximum allowable voltage imbalance in a three phase circuit
Measuring the voltage imbalance in a three phase circuit
Setting the heat anticipation or cycling rate for an electric furnace thermostat
Identifying the proper location for and install a conventional thermostat
Explaining the detailed wiring and operation of a setback programmable thermostat
Describing “R” values and application of various duct insulation materials
Determine system maximum allowable operating static pressure
Describing and demonstrating the method of measuring static pressure
Explain the procedures for determining CFM
Stating the recommended air velocities throughout the supply and return duct system
Stating the recommended air velocities through the return air grilles
Measure air velocities throughout the supply and return duct system
Describing the effects of static pressure on air flow
Measure the effects of static pressure on air flow
Demonstrating the procedure for finding CFM using an anemometer
Demonstrating the procedure for finding CFM using temperature rise
Stating the typical operating characteristics of a direct drive blower
Preforming blower airflow adjustments
Choosing and installing the proper bearings for a residential belt driven blower assembly
Describing and demonstrating the method of wiring heating elements in a three-phase system (wye or delta)
Choosing and using the proper lubricant for residential blower motor maintenance
Describing and demonstrating the procedure to replace the belt and adjust air flow on a belt driven blower assembly
Describing, fabricating and install various types of duct connectors
Describing the application of and preform the installation of turning vanes
Describing the construction and efficiencies of varying filtering media and systems
Electric Heat Troubleshooting and Problem Solving
Evaluating and replacing a heating element and a sequencer
Describing installation and service procedures for central heating system
Stating the minimum required clearances for service and safety of an electric furnace
Evaluating, describing its operation, and install a duct heater
Describing procedures for retrofit of a system to electric heat
| Students should have knowledge of and be able to describe and demonstrate the following safety requirements: | Ladder safety procedures
Describe and perform “Lock out and Tag” procedures
Identifying the safety ground
Identifying the “Hot” conductor
Identifying “Neutral” conductor
Describe and install a GFCI circuit breaker
Describe and demonstrate safety grounding procedures for electric motors
Describe the application of and test a fusible link
Electrical Shock, prevention and first aid
Electrical Burns, prevention and first aid
Describe and demonstrate emergency first aid procedures
| Electric Heat troubleshooting and problem solving: | Troubleshooting and Problem Solving involves diagnostic procedures requiring the use of test instruments, data plate information, and wiring diagrams. All of the HVACR electric furnace system components, circuits, air distribution system, and/or power supply should be part of the Troubleshooting and Problem Solving question area.
| Knowledge of the following test instruments and or tools is required: | Ohmmeter
Multimeter
Ammeter
Voltmeter
Wattmeter
Megger meter
Capacitor analyzer

## Resid-AC
Residential Air Conditioning | Students should have knowledge of Air Conditioning components and be able to demonstrate proficiency in: | The three states of matter
The laws of Thermodynamics
Heat transfer Convection, Conduction, and Radiation
Atmospheric pressure and the effect of altitude
Absolute and gauge pressures
Psychrometrics
Refrigerant charging methods
Refrigerant piping
Soldering and brazing
Refrigerant leak detection and types of leak detectors
Recovery and recycling processes
Defining enthalpy and entropy
Change of state between liquids, vapor, and solids
Describing and defining the following; conduction, convection and radiant heat transfer
Describing, defining, and converting the following temperature measurements; Fahrenheit, Celsius, Rankine, and Kelvin
Condensation of a vapor, and its effect on heat
Vaporization of a liquid, and its effect on heat
Describing the thermodynamics of refrigerants
Describing and defining the following; BTU, latent heat, sensible heat
Describing and defining the following; subcooled liquid, superheated vapor
Describing the state of refrigerant, and explain what occurs in each major component during normal operation
Using saturation tables
Identifying and defining the following types of blends; Binary, Ternary, Azeotropic, and Near Azeotropic
Identifying and defining; CFC’s, HCFC’s, HFC’s, HFO's & HC's
Describing temperature glide
Describing fractionation and its causes
Describing and defining the following; wet bulb temperature, dry bulb temperature, and dew point
Measuring wet and dry-bulb temperatures
Defining wet bulb depression
Describing the principles of dehumidification and humidification
Describing, explaining the function, evaluating, cleaning, and replacing (when feasible) of the following components:
Compressors (reciprocating, scroll, rotary, and screw)
Compressor capacity control methods and operation
Condensers air cooled
Condensers water cooled
Metering devices (capillary tube, thermostatic expansion valve, automatic expansion valve, electronic expansion valve)
Evaporators
Receivers
Discharge line
Liquid line
Suction line
Liquid line filter/driver
Sight glass
Suction line filter
Accumulator
Head pressure controls
Low pressure controls
Pump down solenoid
Plotting the refrigeration cycle on a pressure enthalpy chart
Defining SEER and EER
Describing the operation and use of a gauge manifold assembly
Identifying and differentiate between the various types of service valves
Obtaining gauge pressure using compound gauges and convert to absolute
Defining vacuum and vacuum levels as required in the HVACR industry
Identifying the types of micron gauges and how they should be connected to measure evacuation levels
Explaining vacuum pump selection
Evacuating and measuring system evacuation level
Describing the triple evacuation method
Soldering and brazing using correct techniques
Demonstrating the triple evacuation method
Calculating and demonstrating the weigh-in charging method
Demonstrating charging using the superheat method
Demonstrating charging using the subcooling method
Identifying proper charging of a blended refrigerant into an operating system
Identifying proper charging a blended refrigerant by weight into an empty system
Demonstrating charging using the manufacturers literature
Demonstrating charging a mini-split system with two or more evaporators
Describing the following oils and their applications; Mineral, Alkylbenzene, Glycols, and Esters
Select the proper refrigerant oil and add it to an operating system
Defining compression ratio
Describing and preforming a compressor efficiency test
Determine superheat and subcooling on an operating system
Identifying proper charging of a compound refrigerant into an empty system
Identifying proper charging of a compound refrigerant into an operating system
Describing the six types of leak detectors and demonstrating the proper use
Explaining the proper use of each type of leak detector and their applicability
Explaining the method for and pinpointing a leak
Explaining the proper use and handling of nitrogen in the leak detection process
Defining and demonstrating refrigerant recovery
Defining and demonstrating refrigerant recycling
Defining reclaim
Installing an air handler
Installing a condensing unit
Adjusting blower fan speed
Select the proper refrigerant oil it to an operating system
Perform a compressor efficiency test
| Students should have knowledge of and be able to describe and demonstrate the following safety requirements: | Ladder and fall protection safety procedures
Lock Out and Tag Out procedures
Proper and safe handling of refrigerants
Proper PPE requirements
Emergency First Aid procedures
Proper use of hand tools
| Air Conditioning troubleshooting and problem solving: | Troubleshooting and Problem Solving involve diagnostic procedures requiring the use of test equipment, manufacturers’ installation and start up procedures, and data plate information.
| Knowledge of the following test instruments and or tools is required: | Thermometers (wet and dry)
Gauge manifold assembly
Refrigerant throttling valve
Charging scale and charging cylinder
Soldering and brazing equipment
Flaring tool/ tubing cutters
Tubing benders
Nitrogen Cylinder
Leak detector
Valve Core removal tool
Micron gauge
Vacuum pump
Recovery equipment

## Heat-Pump
Heat Pump | Students should have prior knowledge of: | Refrigerant thermodynamics
Psychrometrics
Residential air conditioning and electric heating systems
Refrigerant charging
Refrigerant recovery
Soldering and brazing techniques.
Refrigerant recycling
Refrigerant reclamation
| Students must have knowledge of Heat Pump system components and be able to demonstrate proficiency in: | Describing a heat pump’s design, configuration for both the heating and cooling cycle
Define SEER, HSPF, and COP
Identifying and differentiate between the various types of service valves
Differentiate between a compressor designed for use in a heat pump and one that is designed for use in a cooling only air conditioner
Demonstrating the proper connection and use of a gauge manifold assembly
Describing the operation of a reversing valve.
Describing the procedures for testing the operation of a reversing valve
Perform a reversing valve replacement
State the purpose of an accumulator and how it is constructed
Evaluate and replace a accumulator
Describing the principle of operation of a capillary tubes as used on a heat pump
Describing the principle of operation of a fixed orifice as used on a heat pump
Describing the principle of operation of a thermostatic expansion valve used with and with out check valves
Describing the principle of operation of an electronic expansion valve
Evaluating and replacing a capillary tube
Servicing, selecting, and installing a fixed orifice
Servicing, selecting, and installing a thermostatic expansion valve
Servicing, selecting, and installing an electronic expansion valve
Describing a check valve, its function and operation
Evaluating and replacing a check valve
Describing the operation of a heat/cool relay
Describing the operation of the following defrost controls, mechanical, time/temperature, and solid state
Describing the function of and testing method for an outdoor thermostat
Describing the sequence of the defrost cycle
Describing the sequence of operation and the testing methods for a defrost relay
Install a solid state defrost control
Stating the purpose of and testing method for a bimetal outdoor coil temperature sensor
Evaluate and replace a defrost board
Servicing and installing a thermistor type temperature sensor (PTC & NTC)
Replacing a printed circuit control board (PC) the indoor and outdoor units
Describing crankcase heating methods and how they operate
Describing a heat pump thermostat with emergency heat feature
Describing the function of and the testing method for a control circuit fuse
Explain how the set points for outdoor thermostats are established
Describing the function and the control methods used by an indoor electronic thermostat
Measure system air flow
Explain the function of a liquid line bi-flow drier
Installing and evaluating a liquid line bi-flow drier
Installing and evaluating a liquid line drier
Explain the function of a suction line filter drier
Installing and evaluating a suction line filter drier
Identifying the types of micron gauges
Explain the method for connecting a micron gauge to the system
Describing and performing the triple evacuation method
Describing heat pump charging procedures
Explain charging using the manufacturers literature
Calculating and demonstrating the weigh-in charging method
Determine required superheat and subcooling for an operating system
Explain charging using the superheat method
Select the proper refrigerant oil for an operating system
Explain charging using the subcooling method
Demonstrating charging using the manufacturers literature
Demonstrating proper charging of HCFC and HFC refrigerants into an operating system
Demonstrating proper charging of HCFC and HFC refrigerants into an empty system
Describing the operation of and the testing method for a high pressure switch
Describing the operation of and the testing method for a low pressure switch
Describing the procedure to perform a compressor efficiency test
| Students should have knowledge of and be able to describe and demonstrate the following safety requirements: | Ladder safety procedures
Fall prevention procedures
Refrigerant handling
Nitrogen handling procedures
| Heat Pump troubleshooting and problem solving: | Troubleshooting and Problem Solving involves diagnostic procedures requiring the use of test equipment, manufacturers installation and start up procedures, and data plate information.
| Knowledge of the following test instruments and or tools is required: | Anemometer
Thermometers (wet and dry)
Gauge manifold assembly
Recovery equipment
Vacuum pump
Micron gauge
Leak detector
Nitrogen Cylinder
Soldering and brazing equipment
Charging scale and Charging cylinder
Refrigerant throttling valve
Ohmmeter
Ammeter
Voltmeter
Valve Core removal tool
Flaring tool/ tubing cutters
Tubing benders
Sling Psychrometer

## Com-AC
Light Commercial Air Conditioning | Students should have prior knowledge of: | Leak detectors
The laws of Thermodynamics
Recovery and recycling processes
Refrigerant leak detection and types of leak detectors
Refrigerant piping
Soldering and brazing
Refrigerant types
System components such as:
Metering devices
Receivers
Pressure controls
Suction accumulators
Refrigerant flow and control valves
Evacuation methods and equipment
Refrigerant charging methods
| Students must have knowledge of light commercial air conditioning systems, their components, and be able to demonstrate proficiency in: | Defining enthalpy and entropy
Change of state between liquids, vapor, and solids
Describing and defining the following; conduction, convection and radiant heat transfer
Describing, defining, and converting the following temperature measurements; Fahrenheit, Celsius, Rankine, and Kelvin
Condensation of a vapor, and its effect on heat
Vaporization of a liquid, and its effect on heat
Describing the thermodynamics of refrigerants
Describing and defining the following; BTU, latent heat, sensible heat
Describing and defining the following; subcooled liquid, superheated vapor
Describing the state of refrigerant, and explain what occurs in each major component during normal operation
Using saturation tables
Identifying and defining the following types of blends; Binary, Ternary, Azeotropic, and Near Azeotropic
Identifying and defining; CFC’s, HCFC’s, HFC’s, HFO's & HC's
Describing temperature glide
Describing fractionation and its causes
Explain the procedures to retrofit a system from a CFC to an HFC, & an HCFC to an HFC
Describing and defining the following; wet bulb temperature, dry bulb temperature, and dew point
Defining wet bulb depression
Measuring wet and dry-bulb temperatures
Describing the principles of dehumidification and humidification
Describing, explaining the function, evaluating, cleaning, and replacing (when feasible) of the following components:
Compressors (reciprocating, scroll, rotary, and screw)
Condensers air cooled
Condensers water cooled
Metering devices (capillary tube, thermostatic expansion valve, automatic expansion valve, electronic expansion valve)
Refrigerant distributors and feeder tubes
Evaporators
Receivers
Discharge line
Liquid line
Suction line
Liquid line filter
Sight glass
Suction line filter
Vibration eliminator
Accumulator
Head pressure controls
Low pressure controls
Pump down solenoid
Oil separator
Crankcase heater
Economizer
Plotting the refrigeration cycle on a pressure enthalpy chart
Defining SEER and EER
Describing a Head Master and its operation
Describing the function, selection and installation of auxiliary heat exchangers
Select the proper refrigerant oil add to an operating system
Adjusting blower fan speed
Sizing, designing, and installing refrigerant lines
Installing a condensing unit
Installing an air handler
Describing the required CFM for system operation and calculate air flow
Installing a condensate drain
Defining reclaim
Defining and demonstrating refrigerant recycling
Defining and demonstrating refrigerant recovery
Explaining the proper use and handling of nitrogen in the leak detection process
Explaining the method for and pinpointing a leak
Explaining the proper use of each type of leak detector and their applicability
Describing the six types of leak detectors and demonstrating the proper use
Identifying proper charging of a compound refrigerant into an operating system
Identifying proper charging of a compound refrigerant into an empty system
Determine superheat and subcooling on an operating system
Describing and preforming a compressor efficiency test
Select the proper refrigerant oil and add it to an operating system
Describing the following oils and their applications; Mineral, Alkylbenzene, Glycols, and Esters
Demonstrating charging a mini-split system with two or more evaporators
Demonstrating charging using the manufacturers literature
Identifying proper charging a blended refrigerant by weight into an empty system
Identifying proper charging of a blended refrigerant into an operating system
Demonstrating charging using the subcooling method
Demonstrating charging using the superheat method
Stating the reason why capillary tube systems require a critical charge
Describing a capillary / distributor tube sizing and selection procedure
Calculating and demonstrating the weigh-in charging method
Describing the triple evacuation method
Demonstrating the triple evacuation method
Soldering and brazing using correct techniques
Evacuating and measuring system evacuation level
Explaining vacuum pump selection
Identifying the types of micron gauges and how they should be connected to measure evacuation levels
Defining vacuum and vacuum levels as required in the HVACR industry
Obtaining gauge pressure using compound gauges and convert to absolute
Describing the operation and use of a gauge manifold assembly
Identifying and differentiate between the various types of service valves
Defining compression ratio
Describing the automatic pump-down system and its operation
Describing an air cooled condenser, its function, and operating parameters
Installing water cooled system and adjusting a water regulating valve
Describing the function of, and install a lockout relay in a circuit
Describing the operation of and install a contactor
Describing, test, and install a run and start capacitor
Describing and install a compressor potential start relay
Describing the operation of and test a high pressure switch
Describing the operation of and test a low pressure switch
Describing and wire the terminal connections of a thermostat temperature control
Describing and test thermistor type temperature sensors (PTC & NTC)
Describing the function, check the operation, and wire an oil pressure safety control
Installing and adjusting a low ambient temperature control
Test a blower or fan motor and its circuit
Describing the operation of and test a hot gas bypass valve
Describing the operation of and adjust an inline, and pilot operated evaporator pressure regulator
Describing and installing a replaceable core liquid line drier
Describing and install a replaceable core suction line filter drier
Describing dry type evaporators and their operation
Describing the piping configuration for a multiple evaporator systems
Describing the function and purpose of a multiple compressor system
Compressor capacity control methods and operation
Describing a chilled water system and its operation
Describing cooling towers and their operating limitations
Describing the operation and function of a flooded evaporator and its metering device
Describing the function, check the operation, and wire a demand ventilation control
Describing the function, check the operation, and wire communications type thermostat
Describing the function, check the operation, and install a variable volume air handler
Describing the function, check the operation, and install a variable air volume (VAV) unit
| Students should have knowledge of and be able to describe and demonstrate the following safety requirements: | Describe and perform “Lock out and Tag” procedures
System leak-test pressures and nitrogen regulator installation and adjustment
Explain and demonstrate the proper method of connecting a micron gauge to the system
| Light Commercial Air Conditioning troubleshooting and problem solving: | Troubleshooting and Problem Solving involves diagnostic procedures requiring the use of test equipment, manufacturers’ installation and start up procedures, and data plate information.
| Knowledge of the following test instruments and or tools is required: | Ammeter
Oil pressure gauge
Ohmmeter
Oil pump
Voltmeter
Nitrogen Cylinder
Micron gauge
Vacuum pump
Sling Psychrometer
Refrigerant throttling valve
Thermometers (wet and dry)
Recovery equipment
Leak detector
Charging scale and charging cylinder
Gauge manifold assembly
Anemometer
Soldering and brazing equipment
Valve Core removal tool
Flaring tool/ tubing cutters
Tubing benders

## Com-Ref
Commercial Refrigeration | Students should have prior knowledge of: | The laws of Thermodynamics
Recovery and recycling processes
Refrigerant leak detection and types of leak detectors
Refrigerant piping
Soldering and brazing
Refrigerant types
Leak detectors
| Students must have knowledge of light commercial refrigeration systems, their components, and be able to demonstrate proficiency in: | Defining enthalpy and entropy
Change of state between liquids, vapor, and solids
Describing and defining the following; conduction, convection and radiant heat transfer
Describing, defining, and converting the following temperature measurements; Fahrenheit, Celsius, Rankine, and Kelvin
Condensation of a vapor, and its effect on heat
Vaporization of a liquid, and its effect on heat
Describing the thermodynamics of refrigerants
Define Cryogenics
Define and state the applications of High, Medium, and Low temperature refrigeration
Define “Expendable Refrigerant”
Describing and defining the following; BTU, latent heat, sensible heat
Describing and defining the following; subcooled liquid, superheated vapor
Describing the state of refrigerant, and explain what occurs in each major component during normal operation
Using saturation tables
Identifying and defining the following types of blends; Binary, Ternary, Azeotropic, and Near Azeotropic
Identifying and defining; CFC’s, HCFC’s, HFC’s, HFO's & HC's
Describing temperature glide
Describing fractionation and its causes
Explain the procedures to retrofit a system from a CFC to an HFC, & an HCFC to an HFC
Describing and defining the following; wet bulb temperature, dry bulb temperature, and dew point
Defining wet bulb depression
Measuring wet and dry-bulb temperatures
Describing the principles of dehumidification and humidification
Define and explain the use of high humidity evaporator coils
Describing, explaining the function, evaluating, cleaning, and replacing (when feasible) of the following components:
Compressors (reciprocating, scroll, rotary, and screw)
Condensers air cooled
Condensers water cooled
Metering devices (capillary tube, thermostatic expansion valve, automatic expansion valve, electronic expansion valve)
Refrigerant distributors and feeder tubes
Evaporators
Receivers
Discharge line
Liquid line
Suction line
Liquid line filter
Sight glass
Suction line filter
Vibration eliminator
Accumulator
Head pressure controls
Low pressure controls
Pump down solenoid
Oil separator
Crankcase heater
Economizer
Lockout relay
Thermostat
Oil pressure safety control
Current start relay
Defrost heater
Defrost terminator
Mechanical or electronic defrost timer
Crankcase pressure regulator (CPR)
Liquid line solenoid valve
Evaporator pressure regulator (EPR)
Pressure regulator (OPR)
Ambient temperature controls
Water regulating valve
Plotting the refrigeration cycle on a pressure enthalpy chart
Defining SEER and EER
Describing a cascade system its application and operation
Describing the purpose and applicability of a defrost cycle
Describing defrost cycle initiation and termination
Describing the basic cycles and operation of ice makers
Describing a Head Master and its operation
Describing the function, selection and installation of auxiliary heat exchangers
Select the proper refrigerant oil add to an operating system
Adjusting blower fan speed
Sizing, designing, and installing refrigerant lines
Describing a service valve and its operation
Determine refrigerant line pressure drop and explain the effects of pressure drop on a system
Describing proper soldering and brazing techniques
Describing the function, selection and installation of a vibration eliminator
Describing the design structure, function, operation, and selection of refrigerant distributors and feeder tubes
Installing a medium temperature condensing unit
Installing a low temperature evaporator with electric defrost
Describing the required CFM for evaporator operation and calculate air flow
Installing a condensate drain for a low temperature system
Describing a drain and drain pan heater and their operation
Defining reclaim
Defining and demonstrating refrigerant recycling
Defining and demonstrating refrigerant recovery
Explaining the proper use and handling of nitrogen in the leak detection process
Explaining the method for and pinpointing a leak
Explaining the proper use of each type of leak detector and their applicability
Describing the six types of leak detectors and demonstrating the proper use
Identifying proper charging of a compound refrigerant into an operating system
Identifying proper charging of a compound refrigerant into an empty system
Determine superheat and subcooling on an operating system
Describing and preforming a compressor efficiency test
Select the proper refrigerant oil and add it to an operating system
Describing the following oils and their applications; Mineral, Alkylbenzene, Glycols, and Esters
Demonstrating charging a mini-split system with two or more evaporators
Demonstrating charging using the manufacturers literature
Identifying proper charging a blended refrigerant by weight into an empty system
Identifying proper charging of a blended refrigerant into an operating system
Demonstrating charging using the subcooling method
Describing the proper procedure for measuring and adjusting evaporator superheat
Stating the reason why capillary tube systems require a critical charge
Describing a capillary / distributor tube sizing and selection procedure
Calculating and demonstrating the weigh-in charging method
Describing the triple evacuation method
Demonstrating the triple evacuation method
Soldering and brazing using correct techniques
Evacuating and measuring system evacuation level
Explaining vacuum pump selection
Identifying the types of micron gauges and how they should be connected to measure evacuation levels
Obtaining gauge pressure using compound gauges and convert to absolute
Describing the operation and use of a gauge manifold assembly
Identifying and differentiate between the various types of service valves
Defining compression ratio
Describing the automatic pump-down system and its operation
Describing an air cooled condenser, its function, and operating parameters
Installing water cooled system and adjusting a water regulating valve
Describing the function of, and install a lockout relay in a circuit
Describing the operation of and install a contactor
Describing, test, and install a run and start capacitor
Describing and install a compressor potential start relay
Describing the operation of and test a high pressure switch
Describing the operation of and test a low pressure switch
Install and adjust a low pressure switch used for temperature control
Describing and wire the terminal connections of a thermostat temperature control
Describing and test thermistor type temperature sensors (PTC & NTC)
Describing the function, check the operation, and wire an oil pressure safety control
Installing and adjusting a low ambient temperature control
Test a blower or fan motor and its circuit
Describing the operation of and testing a hot gas bypass valve
Describing the operation of and adjust an inline, and pilot operated evaporator pressure regulator
Describing and installing a replaceable core liquid line drier
Describing and install a replaceable core suction line filter drier
Describing dry type evaporators and their operation
Describing the piping configuration for a multiple evaporator systems
Describing the function and purpose of a multiple compressor system
Compressor capacity control methods and operation
Describing a chilled water system and its operation
Describing cooling towers and their operating limitations
Describing the operation and function of a flooded evaporator and its metering device
| Students should have knowledge of and be able to describe and demonstrate the following safety requirements: | Describe and perform “Lock out and Tag” procedures
System leak-test pressures and nitrogen regulator installation and adjustment
Explain and demonstrate the proper method of connecting a micron gauge to the system
| Commercial Refrigeration troubleshooting and problem solving: | Troubleshooting and Problem Solving involves diagnostic procedures requiring the use of test equipment, manufacturers’ installation and start up procedures, and data plate information.
| Knowledge of the following test instruments and or tools is required: | Ammeter
Oil pressure gauge
Ohmmeter
Oil pump
Voltmeter
Nitrogen Cylinder
Micron gauge
Vacuum pump
Sling Psychrometer
Refrigerant throttling valve
Thermometers (wet and dry)
Recovery equipment
Leak detector
Charging scale and charging cylinder
Gauge manifold assembly
Soldering and brazing equipment

## Gas-Heat
Gas Heat | Students must have knowledge of heating systems, their components, and be able to demonstrate proficiency in: | Describing and explaining the function of upflow, downflow, and horizontal furnaces
Explaining combustion Theory and Heating Fuels
Explaining the Properties of Heaitng Fuels
Define BTU
Define AFUE
Describing and using the formula for sensible heat
Describing the principles of humidification
Describing the principles of dehumidification
Explaining the BTU content of natural gas and propane gas
Describing the fuel pressures in natural gas and liquefied petroleum (LP) gas piping
Describing and measuring operating fuel pressures in natural gas and liquefied petroleum (LP) furnaces
Describing the typical flue gas temperatures of gas-fired furnaces
Describing the chemical names of natural gas and propane gas
Determining the quantity of combustion air required to burn 1 cubic foot of natural gas and propane gas
Defining and differentiating between primary air and excess air
Stating the maximum percentage of Carbon Dioxide produced by the perfect combustion of natural gas
Stating the maximum percentage of Carbon Dioxide produced by the perfect combustion of propane gas
Explaining the ignition temperatures of natural gas and propane gas
Describing and stating the causes of burner “Flashback”
Describing and stating the causes of a lifting flame.
Stating the reason for appropriate polarity wiring on solid state circuits
Stating the generally accepted standard gas manifold pressure for a residential furnace
Describing, explaining the function, evaluating, cleaning, and replacing (when feasible) of the following components:
Gas valves used with residential furnaces
Gas pressure regulating valves
Orifice
In-shot burner
Pilot burner
Heat exchanger
Flue baffles
Residential gas shutoff valve
Thermocouple
Thermopile
Ignition module
Spark igniter
Hot surface igniter
Flame sensor
Combination fan and limit switch
Door safety switch
Blower motor relay
Vent blower motor
Vent pressure switch
Vent motor relay
Single stage thermostat
Dual stage thermostat
Run and start capacitor
Gas piping drip-leg
Describing a blower housing cut-off plate
Identifying the different types of venting systems
Sizing and installing the vent systems
Poperly sizing, cutting, threading, and connecting gas piping
Instalingl a fire-stop support plate
Adjusting blower fan speed for proper temperature rise
Describing the procedure to measure static pressure
Sizing wire with regards to voltage drop and length of wiring run
Describing and demonstrating proper soldering procedures for electrical wiring
Setting the heat anticipation or cycling rate for a furnace thermostat
Describing and demonstrating proper installation of a single and two stage thermostats
Describing and demonstrating proper installation of a comunication type thermostat
Adjusting airflow on a belt-driven blower assembly
Describing the procedure to de-rate a gas furnace at altitudes of 2,000 feet and above
Describing and demonstrating proper use of a Combustion analyzer
Identifying the different types of conduit used for power
Installing duct connectors and hangers
Describing and demonstrating proper installation of a duct mounted Carbon Monoxide detector
| Gas Heat troubleshooting and problem solving: | Troubleshooting and problem solving involves diagnostic procedures requiring the use of test instruments, data plate information, and wiring diagrams. All of the gas furnace system components, circuits, air distribution system, and/or power supply should be part of troubleshooting and problem solving.
| Students should have knowledge of and be able to describe and demonstrate the following safety requirements: | Ladder safety procedures
Clearances to combustibles for venting materials
Maximum level of Carbon monoxide in ppm in a flue gas sample
Proper safety procedures to follow on discovery of a gas leak
| Knowledge of the following test instruments and or tools is required: | Combustion analyzer
Ohmmeter
Combustible gas detector
Voltmeter
Carbon Monoxide detector
Manometer
Pipe Reamers
Velometer
Ammeter
Pipe tap and die set
Pipe cutter
Pipe Reamers

## Oil-Heat
Oil Heat | Students must have knowledge of oil heating systems, their components, and be able to demonstrate proficiency in: | Describing and explaining the function of upflow, downflow, and horizontal furnaces
Describing Combustion Theory and Heating Fuels
Describing the Properties of Various Heating Fuels
Defining BTU
Defining AFUE
Describing and using the sensible heat formula
Describing the principles of humidification
Describing the principles of dehumidification
Explaining the BTU content and specific gravities of various fuel oils
Describing the oil pressures (and vacuum levels) on an operating oil-fired heating system
Measuring the oil pressures (and vacuum levels) on an operating oil-fired heating system
Measuring the flue gas temperatures of furnaces
Determining the amount of combustion air required to safely burn oil in a furnace
Defining primary and secondary air
Differentiating between primary air and excess air
Describing the causes of burner “Flashback”
Describing the causes of a lifting flame.
Stating the reason for appropriate polarity wiring on solid state circuits
Stating the generally accepted standard oil pressure for a residential furnace
Describing, explaining the function, evaluating, cleaning, and replacing (when feasible) of the following components:
Oil valves used with residential furnaces
oil pressure regulating valves
Orifice
Heat exchanger
Flue baffles
Fuel oil pump
Cadmium sulfide cell
Burner primary safety control
Ignition module
Spark igniter
High voltage ignition transformer
Flame sensor
Combination fan and limit switch
Door safety switch
Blower motor relay
Vent blower motor
Vent pressure switch
Vent motor relay
Single stage thermostat
Dual stage thermostat
Run and start capacitor
Describing a blower housing cut-off plate
Identifying the different types of venting systems
Sizing and installing the venting systems
Installing fuel lines
Describing the purpose and operation of delayed action solenoid valve
Describing the function of a barometric draft control
Describing the testing and adjustment procedure of a barometric draft control
Describing the function of and the testing method for a fuel unit cut-off
Describing the procedure to perform a smoke test on an oil furnace
Installing a fire-stop support plate
Adjusting blower fan speed for proper temperature rise
Describing the procedure for measuring static pressure
Sizing wires with regards to voltage drop and length of wiring run
Describing and demonstrating proper soldering procedures for electrical wiring
Describing and demonstrating proper installation of a single and two stage thermostats
Describing and demonstrating proper installation of a comunication type thermostat
Describing the procedure for adjusting air flow on a belt-driven blower assembly
Describing the procedure to de-rate a gas furnace at altitudes of 2,000 feet and above
Describing and demonstrating proper use of a combustion analyzer
Identifying the different types of conduit used for power
Installing duct connectors and hangers
Describing and demonstrating proper installation of a duct-mounted Carbon Monoxide detector
| Students should have knowledge of and be able to describe and demonstrate the following safety requirements: | Ladder safety procedures
Clearances to combustibles for venting materials
Flue gas testing procedures for carbon monoxide
Ambient air testing procedures for carbon monoxide
Proper safety procedures to follow on discovery of an oil leak
Describe the safety procedure to be followed upon discovery of a defective heat exchanger
| Oil Heat troubleshooting and problem solving: | Troubleshooting and problem solving involves diagnostic procedures requiring the use of test instruments, data plate information, and wiring diagrams. All of the gas furnace system components, circuits, air distribution system, and/or power supply should be part of troubleshooting and problem solving.
| Knowledge of the following test instruments and or tools is required: | Combustion analyzer
Stack Thermometers
Carbon Monoxide detector
Ammeter
Manometers
Anemometer
Ohmmeter
Velometer
Pressure Gauges
Voltmeter